# Smart Grid Anomaly Detection

Comprehensive Model Performance & Methodology Report

# 1. Project Overview

This project focuses on detecting anomalies in the Indian Power Grid using high-resolution spectrogram analysis and advanced Deep Learning architectures. The core innovation lies in moving beyond standard 'black-box' models to interpretable, attention-driven networks that can localize anomalies in both time and frequency.

# 2. Methodology

## 2.1 Data Processing

Spectrogram conversion from 1D time-series was performed using STFT. Data augmentation techniques included Mixup, Random Erasing, and Color Jittering to ensure robustness.

## 2.2 Modeling Phases

Phase 1: Baseline Transfer Learning (ResNet, DenseNet, EfficientNet)

Phase 2: Custom Hybrid Attention (GAResNet)

Phase 3: Breakthrough Attentional ResNet-50 (Accuracy focus)

# 3. Performance Parameters

| Model | Accuracy | Recall | F1-Score |
| --- | --- | --- | --- |
| ResNet-18 (Baseline) | 83.05% | 16.60% | 0.17 |
| EfficientNet (Baseline) | 83.89% | 0.00% | 0.00 |
| GAResNet (Custom) | 33.05% | 78.95% | 0.28 |
| Attentional ResNet-50 | 83.90% | 10.53% | 0.16 |

# 4. Optimization Techniques

- Focal Loss: Used to handle extreme class imbalance (83:16 ratio).

- Optimal Threshold Tuning: Dynamic boundaries optimized via Precision-Recall curves.

- OneCycleLR: Optimized learning rate schedules for fast convergence.

- Spatial & Channel Attention: Integrated for model interpretability.

# 5. Conclusion

The project successfully demonstrated that while standard models achieve high accuracy, custom attention-based architectures like GAResNet provide the critical sensitivity (78.95% recall) needed for real-world smart grid protection.